Project Title: 20070525麥稈彈性測試 TEXTURE EXPONENT32 REPORT

FileName: 周18麥稈彈性測試

| T.A SETTINGS | PRODUCT PARAMETERS |
| --- | --- |
| Test Mode: Compression | Batch: 周18麥稈彈性測試 |
| Return to Start (Set Dist) | Test Run on: 25-5-2007 16:07 |
| Pre-Test Speed: 1.0 mm/sec | Test Run by: Experimental Center |
| Test Speed: 0.5 mm/sec | Points per second: 200 |
| Post-Test Speed: 10.0 mm/sec | Probe: P/50 ; 50mm DIA CYLINDER ALUMINIUM |
| Distance: 5.0 mm | Load Cell Capacity : 50000g |
| Trigger Force: 5.0 g |  |

| Notes |  |
| --- | --- |

RESULTS